	[image: image11.jpg]SPORTS Timing =




	SPORTS TIMING INTERNATIONAL

7946 Hamilton Blvd.

Trexlertown, PA  18087

Tel: 610/398-3977   Fax: 610/398-8406

Email: info@phoenix-sports.com


“SERVING THE NEEDS OF PROFESSIONALS SINCE 1978”

MICROGATE REI 2 TIMER

[image: image1.jpg]



ADDITIONAL INSTRUCTIONS 11-30-2007

USING THE REI 2 FOR NASTAR

The REI 2 has a new software version 1.09.2B1 that allows the automatic setup of the timer to use with the NASTAR software.

· Turn the timer on with the small switch located to the left of the PC cable connection. It will take a few seconds for the Microgate logo and program version to scroll past.

· [image: image2.jpg]



· The screen will ask NASTAR Yes or No. Selecting No will then allow all of the other programs to be accessed for doing USSA/FIS races etc.

· [image: image3.jpg]



· You are now asked to turn the printer On or Off. The printer can be turned On or Off through menu selections later on if needed

· [image: image4.jpg]



· This is the normal operational screen with channel ID and reference times

· [image: image5.jpg]



· This is a screen that shows that the Start (ST) channel is blocked or has reversed polarity. This black dot will appear for any channel that has issues as a way of prompting you to remedy the situation.

· The upper left corner of the screen shows that the power supply is unplugged. A small icon of a power plug appears when external power is present.

Connecting the REI 2 to the PC

· The REI 2 requires a serial port to operate with the PC. This can either be a native connection on selected notebooks (Dell Latitude 531) or a USB to Serial Converter (Belkin F5U409)

· The Microgate serial cable is plugged into the Computer A port on the back of the timer.

· The power supply is plugged in at the extreme left side.

· [image: image6.jpg]



· The start gate and photocell inputs are as follows.

· Yellow Start (default start for USSA)     = Channel 0 = labeled START

· Green Start                                         = Channel 1 = labeled LAP

· Yellow Finish (default finish for USSA)  = Channel 15 = labeled STOP

· Green Finish                                       = Channel 16 = labeled AUX

· [image: image7.jpg]



· You can use the keypad to enter manual pulses for testing.

· [image: image8.jpg]



· Pressing the Blue “lock” keys above each Channel allows your to “block” inputs from the sensors. The flashing red LED shows that the channel is blocked.

Changing paper

· Pull the little black button up to release the paper cover.

· The REI 2 uses standard 2.25 thermal receipt paper. You can buy it at Staples, etc. Sometimes the rolls are a bit too big. Just peel off what you need to get it to fit into the paper holder. You do not need to use the spindle if you don’t want to.

· Fit the paper under the roller and press the paper advance key until it starts threading.

· Fit the paper through the lid and reattach by pressing the black button down softly.

USING THE REI 2 AS A TIME BASE WITH SOFTWARE OTHER THAN NASTAR (SPLIT SECOND CLUB, VELORESULTS, TT*WARE, ETC.)

· The REI 2 makes a great time base for all popular software

· Connect the REI 2 to the PC with the data cable

· Start the timer  and select NO to the NASTAR question.

· Select Synchronization “A”

· Go through the input of the hours, minutes, seconds

· Input the date DD, MM, YYYY

· New race “A”

· Clear configuration “A” really new race structure), Sure “Y”

· Press F5 “OTHER’ to move to second menu.

· Select  option “C” PC online

· Select “A” PC online standard

· Inputs are as follows

· Red start to Green Start Banana socket - Channel 0 (STA button)

· Red Finish to Red Stop banana socket - Channel 15 (STO button)

· Blue Start to Yellow Lap Banana socket – Channel 1 (LAP button)

· Blue Finish to Blue Aux banana socket –  Channel 16 (AUX button)

· 9600,n,8,1 default protocol

· Check the channel assignments in the software Setup and Test section to make sure the input mapping is correct.

[image: image9.png]=181]

Ele(Race) Edt View Internet Iiming Help
Competiors Race Header / Pacesetters |

Face Date [T702007 =] & ComecttoNastrcom

Race Descrtion [Daly Nastar Sta Display handicaps
e & Nesdstobe sent & lothe 1/100h
Weather € Dont send test/demoace) | | " tothe 10
B © sent € to 2 whole number

NASTAR Race Sefes

Hih Schel Scaing [Not i SchoTRace =] Eslanston Rules 2| ]

Defaul Price perRacer 000 whatisthis 2 Scovghethod frore ]
R m———-w e e

I Single Course Timing: times to Green Cc & Device Manager
2l et iz Baudhde Paiy B Sopais e e
e Pl (eswerte 5] sw N 8 1 e
el 14 Hide RawData | |PTES05 /0705
D e o
R T [sea# mput FromTimer Action SystemTime. 4] [ (18R Al
acessiter > 11t 3117421 groredtgnored 13071 00U0DU0700000000001 0000000311742
e b nmame o s |l
4 141 31:21.338 ignoredignored 13.07:15 000D000B00D000D0001 0000001 00311742
- s nsmme o temam | [iasomne ||
o it st et 32| (DCOR
e T |
oy e e
o 0/3 32.49.460 . 13.0843 0000000300000000001000000100312133
o om0
onien

Input 1= (L) Stat, 2=(L)Firish, 3=R Stat, 4=R Firish

Seareboar
Seia Por Seoreboard BaudRale Paiy Bts Ston s
[ =l[Froema | 2 R Stop Test
o]
Seareboard shoid b dilaing
222 5 22.22
777 S 77.77
" NASTAR Technelogy by: Gobal Reach sports Remote #linotused ___emte #2inotused___ Nov o0, 2007 132942

start ||| @urs ... | ucipoc... | EjaoLm.. [ Glfred ... | itihoe... [ H]mcro

[ astar T & 27 (colo) | D¢ @B

124 PM





NASTAR SET UP AND TEST SCREEN SHOT

[image: image10.png]NASTAR 6.
Bl (Race) Edt Wew Internet Timing telp

High School Scoring

007,

Competiors Race Header / Pacesetters |

Race Date [11/30/2007 -

Race Desciipion [Daib Nastar
Weather

Commerts.

I~ Automatically print log as each page is
0|l ST e |

Pacesetters for this Race: |

el

m Neme
Paceseter

Time.

ParTime.

& ComectioNastacon

& Needs to be sent & tothe 17100
© Donitsend(lest/demarace) | | C tathe 10th

Display handicap

€ 102 whole number

NASTAR Race Sefes
Seies Name* -

Not 2 High School Race =] Explanion & Rules 2 |
Scoring Method [rone |

DefaultPrce per Racer $[0.00 Whatis tis 7

[Setup and Test Timing
Tim

Single Couse | Dial Coise |

Used Far

et Velon) St <]

Lot (Vellow) Frish =]
Fight (Green) Star =
[Fight (Green) Firis =]

‘When the timer is changed fom the Setup and Test screen
the Input Mapping willbe set 1o the defatits for that timer

@ Device Mansger

ping

piors|

X Cancel

NASTAR Technology by: Global Reach Sports

Fomote #1: ot vsed

Fomote #2: ok used___ow 0, 2007 325,84

[T @wrsw...| ciooc...| €160 ... | Glred

[@astar [[a & o]





NASTAR DUAL COURSE INPUT MAPPING (For reference only REI 2 and the software are preset to work together)

 SUPPORT

1) The Phoenix Sports Technology discussion forum is a great place to start:

2) http://www.timingguys.com/6/ubb.x OR  www.timingguys.com
3) Fred Patton can be reached on his worldwide cell phone at 610-972-5385

4) The Microgate factory site has a great deal of information as well. You can download the latest manuals and brochures.

5) Download the “PC online” manual from www.microgate.it

     6) 

http://www.microgate.it/eng/timing_sport/_download/manuali/rei2/REI2-Program_PC_Online_1079_001_E.pdf
Microlink software

1) Contact PST for a copy of this software

2) http://www.microgate.it/eng/timing_sport/software_microlink.asp






2
	[image: image12.jpg]MICRO €9 GATE

Timing & Sport




	[image: image13.png]E=RCVES



   SALES AND SERVICE DISTRIBUTER



	
	



[image: image11.jpg][image: image12.jpg][image: image13.png]